Interim Life Safety Measures Assessment Tool

Project: __________________________________                        Location:________________

Completed By: ___________________   Initial Date: ________  Reassessment Date:________

Potential and/or Identified Deficient Issues:

- ________________________________________________________________________

- ________________________________________________________________________

- ________________________________________________________________________

- ________________________________________________________________________

- ________________________________________________________________________

Evaluate deficiency and/or construction hazards to determine when and to what extent one or more of the following measures apply:

| Impact Evaluation | Yes / No / NA | Measures Implemented |
| --- | --- | --- |
| 1. Will all area exits required to be free and unobstructed? No construction materials, equipment, or debris blocks free use of all exits adjacent to the construction site or impacted by the project. All existing exit signs will remain in place and operational. |  |  |
| 2. Will any exterior access points to the building be blocked? Access to emergency departments, entrances, and exit discharges will be maintained free of obstruction, storage, or other impediments. |  |  |
| 3. Will any fire alarm systems & suppression systems be compromised and / or altered? Any temporary system must be tested monthly. A fire watch & fire dept notification must be implemented when fire systems are compromised for more than 4 hours in a 24-hour period. |  |  |
| 4. Will there be a need to erect construction partitions that are smoke tight, fire resistant, non-combustible, slab to slab, and wall to wall? |  |  |
| 5. Will any additional fire extinguishers and equipment be necessary & provided on site? Equipment must be functional and tests and inspections are up to date. |  |  |
| 6. Will the Smoking prohibition need to be communicated, monitored and enforced? |  |  |
| 7. Will construction storage need be minimized and housekeeping & debris removal policies communicated, monitored and enforced? |  |  |
| 8. Will additional fire drills be necessary for staff in affected areas and/or within construction area (contractor staff)? |  |  |
| 9. Will surveillance of the area be necessary? |  |  |
| 10. Will any additional training of staff and/or contractors be necessary to compensate for impaired structural or compartmental features of fire safety? |  |  |
| 11. Will facility-wide safety education programs need to be communicated to promote awareness of fire safety building deficiencies, construction hazards, and ILSM? |  |  |
| 12. List any other Life Safety Code deficiency / concerns identified: | N/A |  |
| 13. List any other Life Safety Code deficiency / concerns identified: | N/A |  |
| 14. List any other Life Safety Code deficiency / concerns identified: | N/A |  |

Additional Comments:

____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________